| Law Course/Section | LAW 6390/21053 in person 1/18/22 - 4/25/22 |
| --- | --- |
| Engineering Course/Section | EGN 6933/19348/BIO1 in person 1/5/22 - 4/20/22 |

BIOTECHNOLOGY & MEDICAL AI POLICY

Prof. Barbara Evans – Spring 2022

Tuesday, Thursday 10:30 – 11:55 am (3 semester hours)

Class meets in Holland Hall 0270 (in person meetings start 1/18/2020)

Syllabus Version 1-11-2022

Professor Barbara J. Evans			Office Hours: T, Th 12-1 pm and additional times

Office Location: Holland Hall 312-j         	by appointment; e-mail or text me to set a time.

E-mail: evans@law.ufl.edu			Please make sure to identify your name in texts.

Office: (352) 273-0915			Mobile Phone/Text: (713) 446-7576

Contents

Summary roadmap, list of major topics, learning objectives…………………...  pages 1-4

Syllabus (substantive course content and readings)....…………………………..  pages 5-14

Resources and course policies……………………………………………………..  pages 15-19

Brief description. An accessible survey of regulatory, privacy, and ethical issues with advanced biotechnologies and AI medical software and other advanced biotechnologies. The course covers safety regulation by FDA and the U.S. Coordinated Framework and protections for privacy and individual rights.

No prerequisites or special legal or scientific background required. The course is suitable for law students and engineering and science graduate students. The course requires no prior legal experience or special science/engineering background. It is suitable for anyone who will need to navigate the major regulatory, privacy, and ethics frameworks affecting discovery, commercial-ization, clinical translation, and payment for innovative medical products and software.

Course Materials. There is no required book to buy. This course uses:

(i) 	National Academies of Science, Engineering & Medicine, Preparing for Future Products of Biotechnology (2017) provided in electronic form on Canvas

(ii)	Institute of Medicine, Medical Devices and the Public’s Health (2011) provided on Canvas

(iii)	Government Accountability Office/National Academy of Medicine (GAO/NAM), AI in Health Care (and Health Settings Outside the Hospital and Clinic) provided on Canvas

(iv)	Other readings, slides, supplements provided in electronic form on Canvas

(v) 	Links within this Syllabus point to regulatory agency materials. Accessing regulatory agency materials on-line, using the URL links in this Syllabus, is the best way to read them, because many regulatory documents have embedded links that make it easy for you to refer to relevant background material by clicking on the links.

Grading.  See further in the Resources and Course Policies section below.  There is no final exam. There are two short in-class exams, each counting 50% of your grade. The first will be on March 15 or 17 and cover materials through Unit III in Syllabus. The second will be in the last day of class (April 19 for engineers, April 21 for law students) and cover Units IV-V only.  The law school policy on exam delays and accommodations can be found here.

Course Roadmap

|  | Tuesday | Thursday |
| --- | --- | --- |
| Start of classes for engineering graduate students only |  | Intro for engineering students only 0.1(Jan 6) Basics of liability How FDA regulation affects liability for AI/ML medical software |
|  | Intro for engineering students, cont’d 0.2(Jan 11) How FDA regulation affects liability for AI/ML medical software | Intro for engineering students, cont’d 0.3(Jan 13) Introduction to federal and state laws and medical privacy |
| Start of classes for law students | 1(Jan 18). AI in society and AI in healthcare | 2(Jan 20). Medical software that FDA regulates |
|  | 3(Jan 25) The role of disruptive technologies in modern healthcare | 4(Jan 27) The challenge of DIY biotechnology, genomics, neurotech |
|  | 5(Feb1) The American approach to regulating safety risks vs. the rest of the world. Which is better? | 6(Feb 3) What does FDA regulate? When? How does a person come to be regulated by FDA? |
|  | 7(Feb8) Speech and how FDA infers a manufacturer’s “intent” | 8(Feb 10) The medical device industry, incl. software and genomic testing |
|  | 9(Feb15) FDA’s device regulatory scheme | 10(Feb 17) FDA device regulation, cont’d. |
|  | 11(Feb22) The challenge of regulating medical software (incl. genomic software) | 12(Feb 24) Review day for Units I – III in syllabus |
| The date for in-class midterm will be March 15 or 17. Date to be selected in consultation with students to minimize scheduling conflicts. | 13(Mar1) The value model: Insurance and Medicare reimbursement of new medical technologies | 14(Mar3) Review and problem solving: Thinking strategically about FDA approval and reimbursement strategy |
|  | Mar 8 Spring Break | Mar10 Spring Break |
|  | 15(Mar15) Midterm or human subject protections for clinical research | 15(Mar17) Midterm or human subject protections for clinical research |
|  | 16(Mar22) Informational research with data and biospecimens: Who owns people’s health data? Is it OK to use people’s data without their consent? | 17(Mar24) Privacy frameworks affecting access to data for research and medical AI (HIPAA, GDPR, others) |
|  | 18(Mar29) In class problem-solving: Problem Sets 1 -3 on privacy and human subject protections: Which regulations apply? | 19(Mar31) In class problem-solving: privacy, human subject protections, and acquiring data for research |
|  | 20(Apr 5) Re-identification risk, return of results, and rights of people whose data are used in research and medical AI datasets | 21(Apr 7) In class problem solving: Individuals’ access to their own data in healthcare and biomedical research. |
|  | 22(Apr12) Ethics of data acquisition for medical AI: issues with data quality, bias and inclusivity in AI datasets | 23(Apr14) Review of human subject protections, data privacy, and ethics of medical AI (materials for second test) |
| Last day of class for engineers = April 19 Last day of class for law students = April 21 | 24(Apr19) Engineering students in class test on reimbursement and privacy Law students discussion of “privacy-by-design for non-engineers” | 25(Apr 21) Law students only in-class test on reimbursement and privacy for law students. |

Short Summary of Major Topics Covered and Learning Objectives

This list summarizes the major topics this course covers. They are not necessarily covered in the order listed here. See syllabus below and the summary chart on page 2 for the order of topics.

Topic 1.  Introduction - Business models for disruptive innovation in health care

Learning objectives.  Inventing a great technology will not, by itself, bring about transformative change. Other required steps can include developing an innovative business model and creating a value network that lets the new technology be delivered safely and at a price that works for both the consumers and the developers.  After this unit, you will be able to: (1) define and recognize three distinct business models that have long existed in the medical product manufacturing and health care industries; (2) evaluate how technological innovations are disrupting existing business models and spawning new models; and (3) understand how the choice of business model can affect which regulator(s) innovators will have to deal with.

Topic 2. Introduction to consumer safety regulation: FDA oversight of medical products and its role in the U.S. Coordinated Framework for Regulation of Biotechnology

Learning objectives. Most researchers understand that their publications and speeches can affect their ability to claim patent protection for new products. Less well understood is the fact that their communications also affect whether FDA will regulate their products and what the specific regulatory requirements will be. After this unit, you will be able to: (1) recognize and define various categories of products that FDA regulates (e.g., drug, device, biological product, combination product, food, food additive, dietary supplement, cosmetic, tobacco product, etc.); (2) apply the factors that FDA looks at when deciding whether an innovative product falls under FDA’s regulations; (3) understand that things researchers and inventors say, write, and publish can affect whether and how FDA will regulate their discoveries; (4) manage communications to optimize the regulatory pathways available to you.

Topic 3.  Guiding new medical technologies through the relevant regulatory pathways

Learning objectives. This unit provides practice-oriented instruction on how to navigate the FDA framework and other relevant regulations to bring new medical products to market. It also explores unresolved policy challenges as FDA works to modernize its frameworks.  Specific topics to be covered will include:

- Overview of the U.S. Coordinated Framework for oversight of gene editing technologies (both as therapeutics and as production tools) – for example, FDA/USDA/EPA regulation of food, gene-edited plants and animals, “biopharming” in which gene-edited plants produce pharmaceuticals and other materials, with a focus on FDA’s roles.

- FDA’s oversight of traditional medical devices (e.g., prosthetics, MRI machines, etc.), diagnostics (e.g., genomic tests), biological products (e.g., engineered tissues or gene-editing tools), and medical software (e.g., AI/ML clinical decision support software, patient decision support and non-regulated wellness and other consumer-grade software, and predictive health analytics software used for population health, public health, and quality improvement)

- FDA and CMS/CLIA oversight of clinical laboratories and genomic and other advanced in vitro diagnostics

Topic 4. The health care reimbursement challenge

Learning objectives.  Many promising health technologies fail to achieve timely clinical translation because of difficulties with the murky process for Medicare/private payer insurance reimbursement approval. After this unit, you will understand: (1) Medicare/payer reimbursement approval is a separate step that follows FDA approval, but reimbursement strategy needs to be planned at the earliest stages of research and development to make sure needed data are collected; (2) How the Medicare reimbursement approval process works (and how it differs) for various types of medical products; (3) Why Medicare’s decisions have a large influence on private insurance approvals; (4) How to choose between national and local coverage decisions for Medicare; (5) The difficult reimbursement pathway for genomic and advanced diagnostic tests; (6) the role of States in mandating appropriate coverage for advanced prosthetics and other superior emerging technologies.

Topic 5.  The challenge of accessing high-quality data for biomedical discovery

Learning objectives.  Access to high-quality, generalizable, longitudinal health data is the fuel for 21st-century biomedical discovery. It is challenging to assemble data sets because of privacy and ethical concerns and because of the fragmented U.S. system for health care delivery. After this unit, you will: (1) be able to explain how “data ownership” currently works; (2) explain the “civil rights” approach to data privacy that the U.S. and European Union adopted in lieu of  “data ownership,” (3) develop a data acquisition plan to obtain needed types of data in a lawful manner under the HIPAA Privacy Rule and major federal research ethics regulations (the Common Rule and FDA research regulations); (4) understand the role of state privacy laws, (5) participate knowledgeably in the ongoing policy debate about re-identifiability of deidentified data; and (6) acquire de-identified or identifiable data for use in research in a lawful manner, when your or your client’s research requires it.

Topic 6. Novel policy issues and new lawsuit risks facing biotechnology and software product developers

Learning objectives. This unit briefly surveys the types of liability suits that traditionally affected the manufacture and clinical use of medical technologies (malpractice, general negligence, products liability, etc.). It explores how FDA’s expanded role in regulating medical software threatens to confront software innovators, clinical and research laboratories, and academic medical centers with new lawsuit risks and discusses strategies to manage those risks.

Syllabus - Assigned Readings

NASEM Biotech refers to Preparing for Future Products of Biotechnology

IOM Devices refers to Institute of Medicine, Medical Devices and the Public’s Health

GAO/NAM  AI in Healthcare

All readings available on Canvas or via URL links to web sites within this Syllabus

Intro for Engineering Students Only (January 6,  11, 13)

These three classes meet via Zoom.

The College of Engineering starts its semester before the Law School starts. There will be three sessions (January 6, 11, and 13) exclusively for engineering students. These will cover tort liability, for which law students have had a course already but engineers typically have not, and introduce basic legal concepts (state/federal laws and medical privacy laws) affecting medical AI.

Readings to be supplied to engineering students via email. Copies also will be stored on the Course Canvas Web Site for future reference.

Reading 0.1 (1/6/22) SLIDES, A Quick Tour of Tort Law: What should you worry about if you are a researcher, product developer, or entrepreneur?

There is no need to review this material before class. Just download or print the slides and have them available. We will work through this material in class

# Reading 0.2 (1/11/22) Evans & Pasquale, Product Liability suits for FDA-regulated AI/ML Software.  Read this before class.

Reading 0.3 (1/13/22) Introduction to Health and Medical Privacy Law (Slides for discussion in class)

Combined law/engineering class starts on 1/18/2021

Readings provided on Canvas web page for the course

Class meetings are in Holland Hall 0270 at the Law School

Unit I. Introduction to Innovative Medical Technologies and Business Models

Classes 1-4 cover topics 1, 3

Class 1. Introductory Matters

Assignment. Before Class 1, read any 4 of the following 8 short articles and come to class prepared to discuss the ones you read.

1.	AI software could displace 47% of workers: Pham et al, “The Impact of Robotics and Automation on Working Conditions and Employment,” IEEE Robotics and Automation Magazine (June 2018) See reading Intro1 on Course Web Page

2.	Non-transparency of AI Software: Cliff Kuang, Can AI be Taught to Explain Itself?  New York Times (Nov. 21, 2017) See reading Intro2 on Course Web Page or See reading Intro2 on Course Web Page, also available at: https://www.nytimes.com/2017/11/21/magazine/can-ai-be-taught-to-explain-itself.html

3.	White House AI Bill of Rights: Sheriff et al., “Does the U.S. Need an AI Bill of Rights? The White House Says ‘Yes’” (Oct. 21, 2021), See Intro3 on Course Web Page, also available at: http://www8.nationalacademies.org/onpinews/newsitem.aspx?RecordID=9302019

4.	Is anybody regulating this stuff? Gene-edited and synthesized food falls into regulatory gaps: Dan Charles, “Will Gene-Edited Food be Government Regulated?” NPR (May 10, 2019), See Intro4 on Course Web Page, also available at: https://www.npr.org/sections/thesalt/2019/05/10/717273970/will-gene-edited-food-be-government-regulated

5.	Gene editing offers medical miracles for patients who can pay millions of dollars: Carolyn Y. Johnson & Brady Dennis, “Gene Therapies offer dramatic promise but shocking costs,” The Washington Post (Nov. 14/15, 2015), See reading Intro5 on  Course Web page or see  https://www.washingtonpost.com/business/economy/gene-therapies-offer-dramatic-promise-but-shocking-costs/2015/11/11/01f11cf0-824b-11e5-9afb-0c971f713d0c_story.html

6.	Gene editing has unresolved safety risks: Sharon Begley, “Potential DNA damage from CRISPR has been seriously underestimated, study finds,” StatNews (July 6, 2018), See Intro6 on Course Web Page, or see https://www.statnews.com/2018/07/16/crispr-potential-dna-damage-underestimated/

7.	Ultrapersonalized medicine:  Gina Kolata, “Scientists Designed a Drug for Just One Patient. Her name is Mila,” New York Times  (Oct. 9, 2019), See reading Intro7 on Course Web Page or see https://www.nytimes.com/2019/10/09/health/mila-makovec-drug.html?action=click&module=Editors%20Picks&pgtype=Homepage

SLIDES Intro to FDA-Part I. I also will use some slides to introduce basic concepts about the Food and Drug Administration.  An electronic copy is provided on Canvas (see Intro8) Download or print a copy if you like to have them handy during class.

Class 2. Introduction to Software that FDA regulates

Assignment. Read I.C (Topol reading) and I.D (GAO report excerpts) and come prepared to identify troubling practical, ethical, economic, or regulatory issues you spotted. Simply bring the handouts in I.A and I.B with you to class. You don’t need to look at them before class.

I.A	Basic definitions to get us started: Categories of products that FDA Regulates and 21st Century Cures Act provisions on FDA regulation of software

I.B	U.S. Coordinated Framework agencies and major statutes

I.C	Eric Topol, “High Performance Medicine: The Convergence of Human and Artificial Intelligence,” Nature Medicine 25, 44-56 (2019)

I.D	In the GAO/National Academies report entitled “AI in Health Care” read: Part One,               § 1 (pages 3 – 16), § 3 (challenges surrounding), pages 21 – 30

Questions for discussion:  What ethical concerns do you have about medical AI software? What types of regulatory oversight do you think are needed (e.g., oversight by FDA, oversight of clinical use by health care providers, oversight of software developers, privacy oversight, economic regulation (e.g., antitrust))?

Class 3. The role of disruptive technologies in modern healthcare

Assignment.

I.E	Clayton Christensen et al., Disruptive Innovation: An Intellectual History and Directions for Future Research, Journal of Management Studies 58(7) (Nov. 2018), pages 1047-50 only.  Before class, read 3-page excerpt from I.D, starting at section “Theoretical Development) on page 1047, and continuing through page 1050 (stop before section entitled “Proposing Causal Mechanisms for Disruption”

Before class, view the following two videos:

Principles of Innovation and Measuring Success (39 minutes)

https://www.youtube.com/watch?v=MpEmjwrOuxI

Clayton Christenson, Jobs to be Done Theory (7 minutes)

https://www.youtube.com/watch?v=Stc0beAxavY

SLIDES Intro to FDA Part 2.  Bring to class if you like to have a copy to refer to.

Questions for discussion: Do advanced diagnostics, medical software, gene therapy, and emerging neurotechnology devices enable disruption of healthcare?  Try to identify some recently emerging technologies that have been in the news that you regard as potentially disruptive and be ready to discuss your examples in class.

Class 4. The challenge of DIY biotechnology, genomics, and neurotechnology

Assignment.  Read I.F Bring a copy of the SLIDES to class if you would like to have it to help take notes. You don’t need to look at the slides before class.

I.F	Daniel Grushkin, Todd Kuiken & Piers Millet, “Seven Myths and Realities about Do-it-Yourself Biology”

SLIDES Regulatory Challenges and Moral Limits of DIY Genomics

Homework. Everybody should do a web search or look at the NASEM Biotech Book Supplement below and find at least one interesting news item, blog post, etc. describing do-it-yourself activities in genomics, neurotech, or another biotechnology and be ready to discuss it briefly in class.

Supplement NASEM Biotech Book (provided in electronic form, “2.1 Book” file) pages 27 – 40. I am not assigning this reading, but it gives an excellent discussion of technical drivers that are restructuring biotech manufacturing, leading to emergence for four new business models. These drivers include, for example, standard biological parts, contract laboratories and community laboratories; new software platforms; the changing scale of manufacturing activities, and changing sources of funding for R&D (including crowdsourced funding).

Questions for discussion:  Where does DIY Bio fit into the spectrum of business models we discussed in Class 3?  What is its potential to bring about disruptive change?  Is it dangerous? Does it need to be regulated? How?

Unit II. Introduction to Consumer Safety Regulation

Classes 5-7 cover Topic 2

Class 5. The uniquely American approach to safety regulation

Assignment. Before class, read II.A, II.B, II.C

II.A	Daniel A. Farber, Uncertainty, 99 Georgetown Law Journal 901 (2011) – excerpts

II.B	Alliance for Bio Integrity v. Shalala, 116 F.Supp.2d 166 (2000) – excerpts

II.C	Int’l Dairy Foods Ass’n v. Amestoy, 92 F.3d 67 (1996)

SLIDES Risk and Innovation Policy

Also bring the old Reading I.B. The U.S. Coordinated Framework agencies and statutes

Supplements. These are not assigned as readings but may be mentioned in class

II.D	Supplement - Deference to Federal Agencies - Chevron-Mead Supplement

II.E	Supplement - Paternalism and the Moral Basis of Consumer-safety Regulation

Questions.  What are the distinctive features of the American model of biotech safety regulation? What principles does it rest on?  What does it cost and does it even keep consumers safe? What sort of reforms, if any, would you suggest?

Class 6. What does FDA regulate?

Assignment. Read II.F, II.G before class:

II.F 	Excerpts from cases: U.S. v Bacto-Unidisk 394 U.S. 784 (1969)

Nutrilab, Inc. v. Schweiker, 713 F.2d 335 (7th. Cir 1983)

National Nutritional Foods Ass’n v. Mathews, 557 F.2d. 325 (2d Cir. 1977)

II.G	Bradley Merrill Thompson, Strategies for Technology Companies Entering the Health Care Internet of Things, Bloomberg Health IT Law & Industry Report, Vol. 9, No. 4 (January 16, 2017).

SLIDES FDA Oversight of Clinical Decision Support Software

Also, bring REFERENCE I.A and I.B from Class 2 and the FDA Intro SLIDES from Class 1 and Class 3 with you to class (or have them accessible on your laptop). We may refer to them.

Questions. How does FDA get its power to regulate? What is the scope of that power? Does FDA have unlimited power to decide which product category a new technology falls into? Do people have any control over whether they fall under FDA’s regulations?

Class 7. Be careful what you say! How FDA determines what your “intent” is when deciding whether to regulate you

Assignment. Read II.H (FDA’s intent algorithm) and II.I (What are labels, labeling, and advertising?). Take a quick look at the three slides in II.J before class. They review the Commercial Speech Doctrine we saw earlier in the Amestoy dairy case in Unit 5. II.K is a supplement you don’t need to read but may be mentioned in class.

II.H	21 C.F.R. § 801.4: the regulatory “intent” algorithm

-    FDA’s failed attempt to shift to a “totality of circumstances” standard and the industry pushback:  Excerpts from FDA, “Clarification of When Products Made or Derived From Tobacco Are Regulated as Drugs, Devices, or Combination Products; Amendments to Regulations Regarding ``Intended Uses'' 82 Fed. Reg. 2193 – 2217 (January 9, 2017)

-     U.S. v. Travia 180 F.Supp. 2d  115 (D.D.C. 2001) – excerpts

II.I	What constitutes a label, labeling, and advertising and why does it matter?

-    FFDCA §§ 201(k), 201(m): definitions of label and labeling

-    Kordel v. U.S., 335 U.S. 345 (1948) - excerpts

-    U.S. v. Urbuteit, 335 U.S. 355 (1948) - excerpts

-    U.S. v. 24 Bottles of “Sterling Vinegar & Honey”, 338 F.2d 157 (2d. Cir. 1964)

Excerpts

II.J	Basics of First Amendment Commercial Speech Doctrine.

II.K     Supplement: When is speech “misleading” in a way that causes you to lose First Amendment protection under the Commercial Speech Doctrine?

Questions. When is a scientific publication or conference presentation just free speech, and when does it become “labeling” that affects how FDA will regulate you and your product? If FDA decides something you wrote amounts to “product labeling,” what is the impact of that? Can you fall under FDA regulation even if you never intended for your invention to be used in clinical healthcare applications? How likely is that to happen? Can you help avoid it?

Ethical Questions. Should people be able to have access to experimental or scientifically uncertain information (such as genomic test results about themselves or environmental data), even if they might misunderstand or misuse the information and make harmful decisions?  Should FDA and other regulators “protect” people by blocking any communication of results the regulators consider to be of low quality or uncertain? How paternalistic should safety regulators be? Are there better options to protect people from uncertain or evolving scientific information, other than just blocking their access to the information altogether?

Unit III.  Basics of Medical Device Regulation

Classes 8-11 cover Topic 3

Class 8. Intro to the Medical Device Industry and Types of Medical Devices

Assignment.

III.A	Intro to the Medical Device Industry.  Medicare Payment Advisory Commission – June 2017 Report to Congress, Ch. 7, “An Overview of the Medical Device Industry”  Read 207 – 214 (stop before “Unique Device Identifier”)

III.B	SLIDES: Overview of Medical Device Regulation, including Diagnostic Devices.  Covers: Basics of FDA device regulation; the shifting mix of premarket to postmarket evidence collection to establish safety and effectiveness; FDA’s new evidentiary paradigm after the Food and Drug Administration Amendments Act of 2007; and regulation of diagnostic devices (incl. genomic tests).  (to be discussed in class in coming days; no need to look at them ahead of time).

SUPPLEMENT. Background on CRISPR Gene Editing Technology (not required reading)

Class 9. FDA’s Regulation of Medical Devices

We will spend a couple of days on Reading III.C.  I recommend you read it through one time, and then re-read it for the second of the two classes (Class 10).

III.C  	Institute of Medicine, Medical Devices and the Public’s Health: The FDA 510(k) Clearance Process at 35 Years (2011): Read Chapter 3 pages 41-62 and 68-73

Note: Only Chapter 3 is posted as Reading III.C, but an electronic copy of this entire book is provided on Canvas. The book is also available for free PDF download at http://nationalacademies.org/hmd/reports/2011/medical-devices-and-the-publics-health-the-fda-510k-clearance-process-at-35-years.aspx?_ga=2.39970402.1981029323.1512495203-886719148.1512334659

III.C.1 SUPPLEMENT Reading Guide to accompany Institute of Medicine III.C. Use this as you go through reading III.C and try to answer all the questions.

Class 10. FDA Medical Device Regulation, cont’d.

Assignment. Read III.D (LawSeq Task Force report) and look at the FDA resources at the links provided below. In class, we will continue discussing the IOM reading III.C and SLIDES III.B, especially the slides at the end that discuss special problems FDA faces in regulating diagnostic tests (including genomic tests).

III.D   LawSeq Quality Task Force, “How Can Law and Policy Advance Quality in Genomic Analysis and Interpretation for Clinical Care?” (2020)

Practice Problem Set – These are practice problems for the midterm. In coming days, you should try to work them at home and we will go over them in class before the midterm.

The following FDA resources are clear and useful. You should click the links and tour them. They really help!

FDA Device Advice – Comprehensive Regulatory Assistance https://www.fda.gov/MedicalDevices/DeviceRegulationandGuidance/default.htm

If you scroll down on the left side of that web page, there are useful links on: “Overview of Medical Device Regulation” and “How to Study and Market Your Device.”

Class 11. Emerging Regulatory Challenges with Medical Software

Assignment

III.E    Browse around in GAO/NAM report on AI in Healthcare. Copy available in “Book” section on Canvas. Goal: Get a sense of various types of AI/ML medical software and the various uses for such software and which ones might be subject to FDA oversight.

III.F	Scan the 2019 draft guidance titled Clinical Decision Support Software describing FDA’s regulatory approach to clinical decision support software functions (replacing the 2017 draft guidance entitled Clinical and Patient Decision Support Software). Just scan it to get a sense of what is in it. NOTE: This reading will be replaced with final guidance if FDA issues it; it has been long delayed.

SLIDES.1 FDA’s Oversight of Clinical Decision Support Software

SLIDES 2 FDA’s Proposed Regulation of Genomic Testing Software

In-class exercise:  How to access, use, and file public comments in an FDA regulatory proceeding.  This exercise will explore comments filed on the 2019 Clinical Decisions Support Draft Guidance, at www.regulations.gov under docket number FDA-2017-D-6569.  The comment period closed Dec. 26, 2019.

Unassigned supplemental links related to FDA software regulation. These are not assigned readings, but links are provided in case you may wish to delve in deeper.

1.   FDA, “Developing Software Precertification Program: A Working Model” (v0.2, June 2018), at https://www.fda.gov/media/113802/download.

2.   Final guidance, Changes to Existing Medical Software Policies Resulting from Section 3060 of the 21st Century Cures Act. This guidance details the changes to existing guidance documents that relate to the regulation of the software functions.

3.   Updates to conform past guidances to the above documents:

-	Policy for Device Software Functions and Mobile Medical Applications (originally titled Mobile Medical Applications)

-	General Wellness: Policy for Low Risk Devices

-	Off-The-Shelf Software Use in Medical Devices

-	Medical Device Data Systems, Medical Image Storage Devices, and Medical Image Communications Devices

4.     FDA, Artificial Intelligence and Machine Learning in Software as a Medical Device (April 2019)  at https://www.fda.gov/medical-devices/software-medical-device-samd/artificial-intelligence-and-machine-learning-software-medical-device

5.      FDA, “Proposed Regulatory Framework for Modifications to Artificial Intelligence/Machine Learning (AI/ML)-Based Software as a Medical Device (SaMD) - Discussion Paper and Request for Feedback” (April 2, 2019) at https://www.fda.gov/media/122535/download

6.      FDA’s long-term Digital Health Innovation Action Plan DH Action Pl (fda.gov)

Class 12. Review for Midterm Exam.  Review of Units I – III. We will go over Practice Problem Set from Class 9, so work it before class.

Unit IV. Unaffordable Miracles: The Challenge of Making Innovative Biomedical Technologies Accessible to People Who Need Them

Classes 13, 14 cover Topic 4

Class 13. Reimbursement of Advanced Medical Technologies

IV.A	Everybody should read this for Class 13. Medicare Payment Advisory Commission – June 2017 Report to Congress.  Read pages 219 – 231 (stop before “Ramifications of bundling…”)

IV.B 	Just browse around in this long report to get a sense of the problem it is tackling: Institute for Clinical & Economic Review, “Gene Therapy: Understanding the Science, Assessing the Evidence, and Paying for Value” (March 2017)

SLIDES Summary of ICER Report

In-class discussion.  Basics of Medicare and private insurer coverage and reimbursement approvals – what innovators have to do to get a new technology to be covered.  What are the options for funding treatments that cost more than the patient is likely to ever earn over the course of a lifetime?

Class 14.  The problem of reimbursement for diagnostic devices (incl. genomic tests)

IV.C	Patricia A. Deverka and Jennifer C. Dreyfus, “Clinical Integration of Next Generation Sequencing – Coverage and Reimbursement Challenges” J. Law, Med. & Ethics Supp (Fall 2014) 22 – 38.  Scan this quickly to get a sense of the enormously complicated pathway to getting a genomic testing discovery reimbursed.

IV.D   	Exercise/example to work in class (just have it available for the in-class discussion) The downside of bringing a device to market through one of FDA’s pathways that have lower requirements to prove safety and effectiveness (e.g., 510(k), or as a non-FDA-regulated LDT). If you provide less data to FDA, then you don’t have data that Medicare and private insurers expect, in order to grant a reimbursement approval.

The midterm test covering Units I-III will take place in class on March 15 or 17 after Spring Break. The choice between those dates will be made in consultation with students to minimize conflicts.   On the other day of that week (March 15 or 17, as the case may be, we will begin Unit V.  The second in-class exam, during the final week of classes, will cover Units IV and V only.

Unit V.  Privacy and Ethics of Research with Large Data Sets: Data Ownership and the U.S. Civil Rights Model of Medical Privacy

Classes 15 – 24 cover Topic 5

Class 15: Basic concepts in human-subject protection for clinical research

Read V.A and try to fill in V.B by referring to V.C. Bring V.B and V.C with you to class.

V.A    Gelsinger Case Summary

V.B    Text Handout Human Subject Protections

V.C    Traditional and New Common Rules

Question for discussion.  What is the Common Rule and how does it differ from FDA’s scheme of human subject protections?

Class 16:  Informational research with data and biospecimens

V.D	Marc Rodwin – The case for public ownership of health data

V.E	Mark Hall – The case for individual ownership of health data

V.F	Pathways for acquiring data without consent under the HIPAA Privacy Rule

V.G	SUPP:  Excerpts from the HIPAA Privacy Rule

V.H	SUPP:  HIPAA Sec. 160 definitions

V.I	SUPP: Office for Civil Rights HIPAA Covered Entity Decision Tool

SLIDES:  Informational Research and Pathways for Accessing Data

Questions for discussion. Should people “own” their health data or should health data be treated as a public data resource for advancing health care and biomedical discovery?  How does the HIPAA Privacy Rule differ from the Common Rule in terms of its handling of jurisdiction, treatment/QI/public health, research waivers, and other categories of use?  What are the basic obligations a researcher has under both regulations (to obtain authorizations/consent, protect information, etc.)

Class 17. Acquiring data for Informational Research and Medical AI

V.J	ACCP Chapter on acquiring data and specimens for Research

V.K	Key provisions of EU’s GDPR and how they compare to the HIPAA Privacy Rule

SLIDES (from Class 16):  Informational Research and Pathways for Accessing Data

Class 18.  In-class problem solving

V.L     	Problem Set 1. Is this research/engagement in research

V.M 	Problem Set 2.  Public Health Practice vs. Research

V.N 	Problem Set 3.  QI vs. Research; Public Health Practice vs. Research

V.O	SUPP.  OHRP Guidance Engagement in Research

V.P	SUPP. More OHRP Guidance on Nonengagement in Research

Class 19. In-class problem solving

V.Q	Problem Set 4.  Acquiring data for use in biomedical research and AI applications

Class 20.  Re-identification risk, individual access rights, and civil rights of data subjects

V.R	Jack Balkin, Rules for Robots excerpts

V.S	Kaissis et al, computational privacy

V.T	Reading to be chosen closer to the class date

Question for discussion.  What duties are owed to persons whose health data is used as medical AI training data?  What sort of “AI Bill of Rights” should patients and research subjects expect?

Class 21.  Re-identification risk, individual access rights

V.U  	Problem Set 5.  Individual access rights

Class 22.  Ethics of Medical AI

V.W	Readings on Bias, Inclusivity, and Regulation of Use of Medical AI

Class 23.  Review for second in-class exam

Continue to Resources and Course Policies on Next Page

Resources and Course Policies

Prof. Evans – Biotech & Medical AI Policy

Health and wellness:  Law and post-graduate studies can be a little daunting at times, and I am always happy to act as a sounding board on strategies to make it feel less stressful. If you or a friend is in distress, there are also other resources available on our campus:

U Matter, We Care: please contact umatter@ufl.edu or 352 392-1575 so a team member can reach out to the student.

Counseling and Wellness Center: http://www.counseling.ufl.edu/cwc/Default.aspx or 392-1575 or University Police Department 392-1111 or 9-1-1 for emergencies

Sexual Assault Recovery Services (SARS): Student Health Care Center 392-1161

University Police Department 392-1111 or 9-1-1 for emergencies

Other helpful resources

E-learning center technical support, 352-392-4357 (select option 2)

Academic honesty:  Academic honesty and integrity are fundamental values of the University community. Students should be sure that they understand the UF Student Honor Code at http://www.dso.ufl.edu/students.php.

## Grading information and grading scale:  Law students and engineering and other graduate students in this class are registered in separate sections, and the norms of their respective colleges will apply.

## Law students will be subject to the UF Law School’s grading policy and mandatory distributions. The law school grading policy is available at : https://www.law.ufl.edu/life-at-uf-law/office-of-student-affairs/current-students/uf-law-student-handbook-and-academic-policies   Engineering graduate students will be graded in accordance with grading policies and norms for their college. A student’s grade can be adjusted by one “notch” (e.g., from an A minus to a B plus) for issues with class participation, preparation, or habitual lateness.

In the event of illness or other emergency affecting your ability to take a scheduled exam, the law school policy on exam delays and accommodations can be found here.

## Accommodations: Students requesting accommodation for disabilities must first register with the Disability Resource Center  (http://www.dso.ufl.edu/drc/). Once registered, students will receive an accommodation letter which must be presented to the Assistant Dean for Student Affairs when requesting accommodation. Students with disabilities should follow this procedure as early as possible in the semester.

Conduct of classes

Naming and pronominal preferences: I go by “Professor Evans” or “Barbara” and I use she as my pronoun, although it won’t upset me if you use something else.  I care about making sure I use your preferred name and pronouns, too. Please feel free to reach out to me in person, by phone, via text message, or by e-mail to make sure I know your preferences. Thereafter, if I ever fail to get it right, please kindly attribute it to defects of memory, and never feel awkward about correcting me gently in front of other people if I make a mistake.

Contacting me with questions: Never feel hesitant about e-mailing me, phoning me, texting me, or visiting office hours with a question if you have made a good-faith effort to understand something and it still is not clear. Please make sure to identify yourself if you text. It’s good to struggle a bit with new ideas and try to master them oneself, because the ability to read carefully and reason things out is a key skill one needs as a lawyer. However, if something just is not clear after a reasonable effort, you need to get it cleared up as soon as possible. Things that are not clear early on can make the later phases of the course harder. It’s better to get things cleared up promptly if something just isn’t making sense. Don’t wait till the end of the semester to seek help.

Course Requirements

Preparation: It is anticipated that you will spend approximately 2 hours out of class reading and/or preparing for in-class assignments for every 1 hour in class.

Class participation and attendance: Attendance is mandatory and you are expected to be on time. It is your responsibility to locate and initial the sign-in sheet for each class session (or to complete electronic sign-in if that is the prescribed method). I will “call the roll” for the first couple of classes, while I learn your name. Thereafter, you are responsible for signing in. It will be considered a violation of the course rules and the Honor Code to falsely indicate that you were present in class, or to assist a classmate in such misrepresentation. Students deemed absent for more than 20% of scheduled classes may not sit for the final examination and cannot pass the course. There are no “excused” absences, although I am always interested if you wish to reach out to me to let me know if you are experiencing an illness or special circumstance.  Punctuality shows respect for your colleagues and professors and is part of the professionalism expected of you as future professionals in your chosen fields. Please arrive at school early enough to allow yourself enough time to be in your seat ready to begin. Any student not in class within the first fifteen minutes of class (or leaving more than fifteen minutes early) is not permitted to sign the attendance sheet.

The best thing to do, if you know you are going to miss a class, is to ask a fellow student for notes. Student notes often are the best record of the give and take of questions and answers that actually took place during class.  However, I also will be glad to discuss questions with you if you have been ill and need to go over any concepts that are still not clear.

Lateness:  Notwithstanding the prior rules, I understand that lateness sometimes happens despite students’ best efforts. Never feel embarrassed to join my class because you are slightly late. You’ve paid for the class, and I want you to get the benefit of any portion of it you are able to attend. However, you must be considerate of your fellow students, and follow social distancing requirements to protect their health, if you are arriving late. When arriving late, sit in a free seat closest to the door to avoid disturbing or violating social distancing with other students, but maintain social distancing as required. Also, please don’t slam the door when you come in and make sure the door is closed behind you. 90% of being a good lawyer lies in learning how to enter a room without letting the door slam behind you. Just kidding, but that’s almost true.

What to do if circumstances require you to exit a class while it is in session:  From time to time in life, we all have a sudden illness or other emergency that requires us to enter or leave a class while it is in session.  If this should happen to you, simply enter or leave as quietly and unobtrusively as you can, observing all social distancing requirements to protect others.  Obviously, it is understood that you will do this only when there is a pressing need to do so.

What good class participation means:  One of the goals of this class, as with any class, is to teach you professional communication skills.  It is surprising but true that the most important communication skill for lawyers is not talking and saying clever things, but listening and getting a sense of what other people think. If that other person is the opposing counsel, listening is the way you analyze the weakness in his or her arguments and thought processes. If that person is your client, listening is how you learn what the client’s problem is and how the client feels about various approaches for solving it. If that person is a regulator or judge, you had better listen!

If you have previously asked to be recognized twice in a single class, I am unlikely to call on you again until all other persons in the class have had the opportunity to share their views. In that situation, do not continue to hold your hand up for a long time; it will just get tired. This is mainly done for your own learning. Whenever one is waiting to speak, one becomes completely absorbed with planning one’s own remarks and loses the opportunity to hear what other people have to say.  Beware of being absorbed in your own thoughts, when you could be listening to what other people have to say.

Also, it is not the case that talking a lot leads to a higher class participation credit or makes you look wiser. Sometimes, a few well-chosen, well-prepared words are the most impressive. I particularly like it when students listen to one another’s remarks and respond to them, either to amplify or debate them in a tactful, well-reasoned manner.

Be aware of any positions of privilege that you enjoy and regulate your participation in a way that ensures everybody has an opportunity to express their views and receive respect for them.

Practice examinations:  I do not give out old exams as practice exams. But we will work many class exercises and practice problems in class, so you will be well-prepared for the final and the midterm. The practice problems we work often are adapted from past exam questions so they are an excellent indicator of what you are expected to know.

In-class examinations.  There is no final in this class.  There are two in-class exams, approximately 75 minutes long each, and each one counts 50% of your grade.  Other than any adjustments for class preparation and participation (see above), the course grade will be based 50% on the first in-class exam and 60% on the second one. Because of pandemic procedures, the precise procedures for administering the exam will be clarified later in accordance with law school and university policies. More on the examination format will be discussed in class, or in general policies announced to the law school community, as the semester progresses. However, the expectation is that we will have in-person classes and that the two in-class exams will be administered in person by me.

# Reading assignments/ Supplements:  The Syllabus lists the readings and other materials we will be covering.  We will be proceeding straight through the Syllabus in the exact order it shows the readings. The pace at which we move through the materials may vary if I detect and need to slow down or speed up to ensure student mastery of the materials. Therefore, I will announce specific assignments for the coming class periods at the start or end of each class or electronically. If you are unable to attend class for any reason, you are responsible for finding out what your assignments are.

Problem sets: Throughout the course we will be working problem sets.  These are strictly learning exercises; they are not graded.  The purpose of the problem sets is to help develop your analytical skills and learn how to apply the sometimes-theoretical health law  principles to specific fact situations.  Also, the problem sets are intended to give you a taste of the types of questions you might see on the midterm and final, so that you can get some practice and develop the skills you will need to frame and argue a response.

Cell phones, pagers, computers: Please make every effort to remember to disable the ringer on your cell phone and to silence any other device you have that makes noise. I understand why carrying these devices in class is necessary.  Computers in class are to be used exclusively for taking notes or viewing documents directly relevant to what is then going on in the classroom, and not for otherwise distracting you or your classmates. Sanctions for violating these rules are at my complete discretion.

Policy on recording of classes: Under Florida law, students are allowed to record video or audio of class lectures. However, the purposes for which these recordings may be used are strictly controlled.  The only allowable purposes are (1) for personal educational use, (2) in connection with a complaint to the university, or (3) as evidence in, or in preparation for, a criminal or civil proceeding.  All other purposes are prohibited.  Specifically, students may not publish recorded lectures without the written consent of the instructor.

For this purpose, a “class lecture” is an educational presentation intended to inform or teach enrolled students about a particular subject, including any instructor-led discussions that form part of the presentation, and delivered by any instructor hired or appointed by the University, or by a guest instructor, as part of a University of Florida course. A class lecture does not include lab sessions, student presentations, clinical presentations such as patient history, academic exercises involving solely student participation, assessments (quizzes, tests, exams), field trips, private conversations between students in the class or between a student and the faculty or lecturer during a class session.

Publication without permission of the instructor is prohibited. To “publish” means to share, transmit, circulate, distribute, or provide access to a recording, regardless of format or medium, to another person (or persons), including but not limited to another student within the same class section. Additionally, a recording, or transcript of a recording, is considered published if it is posted on or uploaded to, in whole or in part, any media platform, including but not limited to social media, book, magazine, newspaper, leaflet, or third party note/tutoring services. A student who publishes a recording without written consent may be subject to a civil cause of action instituted by a person injured by the publication and/or discipline under UF Regulation 4.040 Student Honor Code and Student Conduct Code.

Also be aware that classes may be recorded by the Law School for the benefit of any students who need to be quarantined, if quarantining is still happening this semester. By taking the class, you consent to any recording that proves necessary as part of the pandemic response.

Informal feedback for me: My goal is to help you learn health law as thoroughly and enjoyably as possible.  I welcome any comment or suggestion you may have regarding teaching style, topic coverage, class presentation, ways to make the class sessions more useful for you, or any other issue.  I may not implement every suggestion that is offered, but I will certainly give it careful consideration, and I would never be offended by any good-faith suggestion on how to make this class more engaging and productive for you. If something isn’t working for you, then let me know. Please feel free to provide me with any comments during the semester that you think will improve the overall learning experience.

Formal course evaluations:  Students are expected to provide feedback on the quality of instruction in this course by completing online evaluations at https://gatorevals.aa.ufl.edu/.  Evaluations are typically open during the last two or three weeks of the semester, but students will be given specific times when they are open. Summary results of these assessments are available to students at https://gatorevals.aa.ufl.edu/.